**Structure of CPSP-М70**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Name | Symbol | H х W х D | Weight,kg | Quantity |
| 1 | Distribution board | BD | 2039х1120х625 | 450 | 1 |
| 2 | Uninterruptible supply unit | USU | 2039х625х625 | 275 | 1 |
| 3 | Battery cabinet | BC | \* | \* | \* |
| 4 | Isolating transformer | IT | 600х450х450 | 150(190) | 1 |
| 5 | Supply board of control computer system | SB CCS | \* | \* | \* |
| 6 | Input Feeder Device | IFU | 2039х365х425 | 130 | 3 |
| 7 | Emergency power-off board | EPB | 300х400х150 | 10 | 1 |

\*-dimensions, weight and quantity could be different according to project