**Order data CPSP ABTC (connected through remote control power-off switchboard)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Name | Input automatic breaker | Calculated capacity of ABTC | Capacity of USU | Number order |
| 1 | CPSP ABTC | 80А\* | Up to 8kVA (up to 14 signal installations) | 10kVA | ЖРГА.436515.001-01 |
| 2 | CPSP ABTC | 80А\* | Up to 12kVA (up to 21 signal installations) | 15kVA | ЖРГА.436515.001-02 |
| 3 | CPSP ABTC | 80А\* | Up to 16kVA (up to 28 signal installations) | 20kVA | ЖРГА.436515.001-03 |

**Order data CPSP ABTC (connected through input feeder unit)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Name | Input automatic breaker | Calculated capacity of ABTC | Capacity of USU | Number order |
| 1 | CPSP ABTC | 80А\* | Up to 8kVA (up to 14 signal installations) | 10kVA | ЖРГА.436515.001-04 |
| 2 | CPSP ABTC | 80А\* | Up to 12kVA (up to 21 signal installations) | 15kVA | ЖРГА.436515.001-05 |
| 3 | CPSP ABTC | 80А\* | Up to 16kVA (up to 28 signal installations) | 20kVA | ЖРГА.436515.001-06 |

**Order data CPSP ABTC-EM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Name | Input automatic breaker | Calculated capacity of ABTC | Capacity of USU | Number order |
| 1 | CPSP ABTC-EM | 80А\* | Up to 8kVA (up to 14 signal installations) | 10kVA | ЖРГА.436515.001-07 |
| 2 | CPSP ABTC-EM | 80А\* | Up to 12kVA (up to 21 signal installations) | 15kVA | ЖРГА.436515.001-08 |
| 3 | CPSP ABTC-EM | 80А\* | Up to 16kVA (up to 28 signal installations) | 20kVA | ЖРГА.436515.001-09 |

**Order data CPSP ABTC-M**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Name | Input automatic breaker | Calculated capacity of ABTC | Capacity of USU | Number order |
| 1 | CPSP ABTC-M | 80А\* | Up to 8kVA (up to 14 signal installations) | 10kVA | ЖРГА.436515.001-10 |
| 2 | CPSP ABTC-M | 80А\* | Up to 12kVA (up to 21 signal installations) | 15kVA | ЖРГА.436515.001-11 |
| 3 | CPSP ABTC-M | 80А\* | Up to 16kVA (up to 28 signal installations) | 20kVA | ЖРГА.436515.001-12 |

\* - Nominal current of input automatic breakers could change according to project.