**Order data IFU**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| № | Name | Nom. current | Max. section | Order number |
| input cable | load cable |
| 1 | IFU for small-scale and average-scale stations  | 100А | up to 150mm2 | 2х150mm2 | ЖРГА.469114.003-01 |
| 2 | IFU for large-scale stations | 200А | up to 180mm2 | 2х150mm2 | ЖРГА.469114.003-02 |
| 3 | IFU for huge-scale stations (high)\* | 200А | up to 180mm2 | 2х150mm2 | ЖРГА.469114.003-03 |
| 4 | IFU | 400А | up to 240mm2 | 2х240mm2 | ЖРГА.469114.003-04 |
| 5 | IFU | 630А | up to 240mm2 | 2х240mm2 | ЖРГА.469114.003-05 |
| \* similar to version ЖРГА.469114.003-02 with increased space for connecting power cables |

**Order data EPB**

|  |  |  |
| --- | --- | --- |
| № | Name | Order number |
| 1 | EPB to 2 IFU | ЖРГА.656333.003 |
| 2 | EPB to 3 IFU | ЖРГА.656333.003-01 |
| 3 | EPB to 4 IFU | ЖРГА.656333.003-02 |